{d.project_name}

{d.version} as of {d.date}

# Introduction

This document is the validation plan and protocol for the use of the automated process specified above at Brainlab. The intent is to provide adequate documented evidence to confirm that this automated process operates as intended.

# Responsibilities & authorities

- {d.originator} ({d.originator_shortsign}) is responsible for preparing the validation plan and coordinating its execution.

- {d.maintainance_responsibles} are responsible for maintaining the software tool and providing tool support.

- Every user is responsible for the correct usage of this application according to the provided documentation.​

# Definition phase

## Intended use

The intended use of the {d.project_name} {d.version} is to support model training activities related to the release of the AI/ML-based anatomical image analysis application. Explicitly, this tool is not for clinical use.

This validation protocol includes validation of the following:

| Tool | Major Version |
| --- | --- |
| {d.tools[i].name} | {d.tools[i].major_version} |
| {d.tools[i+1].name} | {d.tools[i+1].major_version} |

## Analysis of process failure Risk

The {d.project_name} {d.version} does not directly affect the source code of any anatomical image analysis process. It however affects the deep learning model and hyperparameter set employed in the machine learning-based anatomical image analysis algorithm of the Anatomical Patient Model Service. The tests in this document ensure the correctness of the outputs created by the tool (e.g., models, hyperparameter files, training and evaluation reports, converted models).

To mitigate the risk of potential failure cases, the results of the tool are manually inspected based on the generated reports (training and evaluation reports). The ultimate models produced by the tool and selected by the user based on results presented by the tool are evaluated by further processes, more specifically by the validated tool Algorithm Job Processing Application. This mitigates the risk of failure of one of the above jobs.

Conclusion: The residual risk of the automated process is

☒ Low (Section 3.3 is N/A)

☐ High

## Risk assessment & control (N/A for low risk processes)

N/A

## Validation approach

The validation approach is comprised of the following steps:

- Write automated tests.

- Create the Validation Plan (this document) and have it approved.

- Execute the tests that automatically fills the Validation Report and have it approved.

Any changes to the above-listed tools require a re-validation of the training tool.

# Release of Validation Plan

| I confirm that I originated this protocol. |  |  |  |
| --- | --- | --- | --- |
| {d.originator} | Originator |  |  |
| Name | Role | Date | Signature |

| I approve this validation protocol to be performed as specified. I agree with the risk assessment and the chosen validation approach. |  |  |  |
| --- | --- | --- | --- |
| Henrik Wist | Procedure owner Automated Processes |  |  |
| Name | Role | Date | Signature |

# Implementation & testing phase

This section is filled automatically during the automated tests.

The tests are defined in the GitHub repository {d.github_repo}.

The following tools and versions were used for validation:

| Tool | Version |
| --- | --- |
| {d.tools[i].name} | {d.tools[i].version} |
| {d.tools[i+1].name} | {d.tools[i+1].version} |

## Test Execution

The tests are executed by triggering a release in the GitHub repository {d.github_repo}.

## Validation Tests – DataGeneration

The following tests validate the datageneration of the {d.project_name} {d.version}

| N°. | Test description | Expected result in order to pass the test | Actual result (“passed/ok/as expected” or “failed” + explanation) | Short sign |
| --- | --- | --- | --- | --- |
|  | {d.datageneration_cases[i].description} | {d.datageneration_cases[i].expected} | {d.datageneration_cases[i].passed} | {d.originator_shortsign} |
|  | {d.datageneration_cases[i+1].description} | {d.datageneration_cases[i+1].expected} | {d.datageneration_cases[i+1].passed} | {d.originator_shortsign} |

## Validation Tests – TRAIN

The following tests validate the training workflow of the {d.project_name} {d.version}

| N°. | Test description | Expected result in order to pass the test | Actual result (“passed/ok/as expected” or “failed” + explanation) | Short sign |
| --- | --- | --- | --- | --- |
|  | {d.train_cases[i].description} | {d.train_cases[i].expected} | {d.train_cases[i].passed} | {d.originator_shortsign} |
|  | {d.train_cases[i+1].description} | {d.train_cases[i+1].expected} | {d.train_cases[i+1].passed} | {d.originator_shortsign} |

## Validation Tests – Inference

The following test validate the model export to ONNX and inference correctness of the {d.project_name} {d.version}

| N°. | Test description | Expected result in order to pass the test | Actual result (“passed/ok/as expected” or “failed” + explanation) | Short sign |
| --- | --- | --- | --- | --- |
|  | {d.inference_cases[i].description} | {d.inference_cases[i].expected} | {d.inference_cases[i].passed} | {d.originator_shortsign} |
|  | {d.inference_cases[i+1].description} | {d.inference_cases[i+1].expected} | {d.inference_cases[i+1].passed} | {d.originator_shortsign} |

# Deployment phase

There is no planned deployment phase. {d.project_name} {d.version} should be retrieved from the code repository at this specific tag:

{d.github_repo}/releases/tag/{d.version}

# Maintain phase

There is no planned maintenance phase. Should there be any issues with the{d.project_name} {d.version}, they will be fixed, and the tool will be validated again.

# Requirements for electronic records & signatures

N/A

# Reference documentation

| Document name | Revision/Date |
| --- | --- |
| {d.references[i].name} | {d.references[i].revision} |
| {d.references[i+1].name} | {d.references[i+1].revision} |

# Validation summary & conclusion

| I approve that all tests have been performed as indicated above and confirm the results as indicated for each test. |  |  |  |
| --- | --- | --- | --- |
| {d.originator} | Originator |  |  |
| Name | Role | Date | Signature |

| The validation performed according to this protocol show that all tests were passed successfully. The validated automated process can be used as intended. |  |  |  |
| --- | --- | --- | --- |
| Henrik Wist | Procedure owner Automated Processes |  |  |
| Name | Role | Date | Signature |

Forward scanned copy to Document Control for upload to the list of automated process validation documents.